GenWatt Propane 100kW

| Engine type |  |
| --- | --- |
| 4-cycle, gasoline, OHV, cast iron cylinder liners, aluminum block, electronic fuel injection |  |
| Model | Command PRO EFI Propane PCV740 |
| HP (kW) 1 | 24(17) |
| Displacement (cc) | 45 (747) |
| Bore in (mm) | 3.3 (83) |
| Stroke in (mm) | 2.7 (69) |
| Gross Torque ft lbs (Nm) 1 | 37.3 (50.6) |
| Compression Ratio | 9.1:1 |
| Dimensions LxWxH (in)* | 21.3 x 18.5 x 17.6 |